## Contaminant_MCL_Comparison_With
Contaminant | Canada MCL | EU MCL | EPA MCL | CA MCL | NYS MCL | Notes | References
Bromate | 0.01 mg/L | 0.01 mg/L | 0.01 mg/L | 0.01 mg/L | 0.01 mg/L | Disinfection byproduct; regulated in NYS. | Health Canada, EU Drinking Water Directive, EPA MCL List, NY DOH
Chromiu-6 (hexavalent) | NR | NR | NR | 10 ug/L (historically, then revoked in 2017, now proposed) | NR | Proven cause of cancer, GI damage, Kidney/liver damage, reproductive effects
Total Chromium¶ | 50 ug/L | 50 ug/L | 100 ug/L | 50 ug/L | 100 ug/L | Chromium-3 is essential nutrient in small amounts
Nickel | 0.02 mg/L | 0.02 mg/L | NR | NR | NR | Found in plumbing; NYS does not currently set a standard. | Health Canada, EU Directive 2020/2184
Manganese | 0.12 mg/L (Aesthetic) | 0.05 mg/L | NR | SMCL = 0.05 mg/L | NR* | NYS uses guidance values but no enforceable MCL. | Health Canada (Guidelines for Canadian Drinking Water Quality), EU Directive 2020/2184
Cyanide | 0.2 mg/L | 0.05 mg/L | 0.2 mg/L | 0.15 mg/L | 0.2 mg/L | Regulated in NYS in line with EPA. CA has slightly more protective MCL than EPA/NYS. | Health Canada, EU Drinking Water Directive, EPA MCL List, NY DOH
1,2-Dichloroethane | 0.005 mg/L | 0.003 mg/L | 0.005 mg/L | 0.0005 mg/L | 0.005 mg/L | Industrial solvent; regulated in NYS. CA MCL is 10x more protective than federal/NYS levels. | Health Canada, EU Drinking Water Directive, EPA MCL List, NY DOH
Benzo(a)pyrene | 0.00004 mg/L | 0.00001 mg/L | 0.0002 mg/L | 0.0002 mg/L | 0.0002 mg/L | PAH; known carcinogen. NYS follows EPA. | Health Canada Technical Document, EU Directive 2020/2184, EPA MCL List, NY DOH
Tetrachloroethene (PCE) | 0.03 mg/L | 0.01 mg/L | 0.005 mg/L | 0.005 mg/L | 0.005 mg/L | Solvent; NYS aligns with EPA MCL. | Health Canada, EU Directive 2020/2184, EPA MCL List, NY DOH
Trichloroethene (TCE) | 0.005 mg/L | 0.01 mg/L | 0.005 mg/L | 0.005 mg/L | 0.005 mg/L | Industrial solvent; regulated by NYS. | Health Canada, EU Directive 2020/2184, EPA MCL List, NY DOH
Pesticides (individual) | Varies by pesticide | 0.0001 mg/L | Varies by pesticide | Varies | Varies (e.g., Aldicarb: 0.003 mg/L) | NYS regulates many pesticides individually. | Health Canada, EU Drinking Water Directive, EPA Pesticide MCL List, NY DEC
Total Pesticides | Not specified | 0.0005 mg/L | NR | NR | NR | NYS does not have a total pesticide MCL; regulates selected ones individually. | EU Directive 2020/2184
Polycyclic Aromatic Hydrocarbons (PAHs) | Not specified | 0.0001 mg/L (sum of 4 PAHs) | NR | NR | NR | Only Benzo(a)pyrene is regulated; other PAHs not covered in NYS MCLs. | EU Directive 2020/2184
Microplastics | NR | NR*** | NR | NR** | NR
1,4-Dioxane | .050 mg/L | NR | NR | NR* | .001 mg/L | Liver effects; increased risk of cancer.
PFOA | 20 ng/L | N/A | 4 ng/L | 10 ng/L† | 10 ng/L
PFOS | 6 ng/L | N/A | 4 ng/L | 40 ng/L† | 10 ng/L
Total PFAS | 30 ng/L (proposed) | 100 ng/L | NR | NR | NR
*Advisory only
** CA does not regulate, but was first state to pass widespread monitoring laws. VA, IL, and NJ have followed (kslaw.com news&insights page)
*** EU does not regulate in water, but laws are active to reduce microplastics releases in products/industry (environment.ec.europa.eu)
† Response level (when gov will treat water)
ng/L = nanograms per liter
¶ Chromium-3 and Chromium-6 (hexavalent)

## NYS MCLs
Contaminant | Units | MCL | Health effects
Total Coliform Bacteria | Presence/Absence | 5% of monthly samples | Not a health threat in itself; used to indicate whether other potentially harmful bacteria may be present.
E. coli | Presence/Absence | 0 | Short-term exposure may cause diarrhea, cramps, nausea, headaches, or other symptoms. May pose a special health risk for infants, young children, and people with severely compromised immune systems.
Turbidity (for systems that must install filtration but have not) | NTU | 5 | Turbidity is a measure of the cloudiness of water. It is monitored because it is a good indicator of water quality and the effectiveness of disinfectants.
Turbidity (for systems that have met criteria for avoiding filtration) | NTU | 5 | Same as above.
Asbestos | MFL | 7 | Increased risk of developing benign intestinal polyps.
Arsenic | µg/L | 10 | Skin damage or problems with circulatory systems, and may have increased risk of getting cancer.
Barium | mg/L | 2 | Increase in blood pressure.
Chloride | mg/L | 250 (Secondary Standard) | No health effects; secondary standard based on taste.
Chlorite | mg/L | 1 | Anemia; infants and young children: nervous system effects.
Copper | mg/L | 1.3 (Action Level) | Short-term exposure: gastrointestinal distress; long-term exposure: liver or kidney damage. People with Wilson’s Disease should consult their personal doctor.
Cyanide | µg/L | 200 | Nerve damage or thyroid problems.
Fluoride | mg/L | 2.2 (Secondary Standard) | Bone disease (pain and tenderness of the bones); children may get mottled teeth.
Lead | µg/L | 15 (Action Level) | Infants and children: delays in physical or mental development; adults: kidney problems; high blood pressure.
Mercury (Inorganic) | µg/L | 2 | Kidney damage.
Nitrate | mg/L | 10 | Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome.
Nitrite | mg/L | 1 | Infants below the age of six months who drink water containing nitrite in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome.
Benzo(a)pyrene (PAH) | µg/L | 0.2 | Reproductive difficulties; increased risk of cancer.
1,4-Dioxane | µg/L | 1 | Liver effects; increased risk of cancer.
Perfluorooctanoic acid (PFOA) | ng/L | 10 | Developmental effects to fetuses during pregnancy; liver effects; immune effects; cancer.
Perfluorooctane sulfonic acid (PFOS) | ng/L | 10 | Developmental effects to fetuses during pregnancy; liver effects; immune effects; cancer.
Polychlorinated biphenyls (PCBs) | µg/L | 0.5 | Skin changes; thymus gland problems; immune deficiencies; reproductive or nervous system difficulties; increased risk of cancer.
Benzene | µg/L | 5 | Anemia; decrease in blood platelets; increased risk of cancer.
Tetrachloroethylene (Perchloroethylene) | µg/L | 5 | Liver problems; increased risk of cancer.
Haloacetic Acids (HAA5) | µg/L | 60 | Increased risk of cancer.
Total Trihalomethanes (TTHMs) | µg/L | 80 | Liver, kidney, or central nervous system problems; increased risk of cancer.
Chlorine Residual | mg/L | 4.0 (MRDL) | Eye/nose irritation; stomach discomfort.